## ATT 1 A
No | Description | Equipment (Quantities Estimated) | CTP Count | GTP Count | Unit Price | Extended Price
10 | * Breaker Testing
|  | Breaker, Low Voltage;Primary | 143 | 49 |  | 0
|  | Breaker, Low Voltage;Seconary | 143 | 49 |  | 0
|  | Breaker, Medium Voltage;Primary | 29 | 15 |  | 0
|  | Breaker, Medium Voltage;Seconary | 29 | 15 |  | 0
|  | BREAKER TOTAL |  |  | 0 | 0
*TRIP UNITS FOR BREAKER TESTING (For Reference)
Manufacturer |  | Trip Units
GE |  | Versa Trip/RMS-9
Cutler Hammer |  | Digitrip 510
Cutler Hammer |  | Digitrip 520
Cutler Hammer |  | Digitrip 520M
Cutler Hammer |  | Digitrip RMS 320
Square D |  | Micro Logic/Series B
Square D |  | Micro Logic
20 | Multilin Testing
|  | Multilin;369 | 5 | 0 |  | 0
|  | Multilin;469 | 15 | 12 |  | 0
|  | Multilin;489 | 2 | 0 |  | 0
|  | Multilin;750 | 6 | 4 |  | 0
|  | Multilin;MIF II | 2 | 2 |  | 0
|  | Multilin;735/737 | 0 | 2 |  | 0
|  | MULTILIN TOTAL |  |  | 0 | 0
30 | Relay Testing
|  | Relay Solid State;BEI-67 | 6 | 0 |  | 0
|  | Relay Solid State;BEI-87 | 2 | 0 |  | 0
|  | Relay Solid State;50/51 | 48 | 58 |  | 0
|  | Relay Mechanical ;ABB CP | 2 | 0 |  | 0
|  | Relay Electromagnetic | 0 | 10 |  | 0
|  | Relay Solid State;32R | 0 | 2 |  | 0
|  | Relay Solid State;46N | 0 | 2 |  | 0
|  | Relay Solid State;47N | 0 | 2 |  | 0
|  | RELAY TOTAL |  |  | 0 | 0
40 | Transformer Testing
|  | Transformer Breaker/Low Volt/Primary | 19 | 0 |  | 0
|  | Transformer Breaker/Low Volt/Secondary | 19 | 0 |  | 0
|  | Transformer Testing;Pad | 19 | 14 |  | 0
|  | Transformer Testing;Pad/Oil | 19 | 14 |  | 0
|  | Transformer Testing;Pad/Dry | 9 | 0 |  | 0
|  | Transformer Testing;Variac | 2 | 0 |  | 0
|  | Transformer Testing,RVAT | 3 | 0 |  | 0
|  | TRANSFORMER TOTAL |  |  | 0 | 0
50 | Controller Testing
|  | Controller;Run | 7 | 0 |  | 0
|  | Controller;Start | 14 | 0 |  | 0
|  | Controller;RVAT | 15 | 0 |  | 0
|  | Controller;Main | 9 | 0 |  | 0
|  | Controller;ATL | 4 | 0 |  | 0
|  | Controller;Medium voltage | 1 | 0 |  | 0
|  | Controller; Motor Controller | 9 | 0 |  | 0
|  | CONTROLLER TOTAL |  |  | 0 | 0
60 | Transfer Switch Testing
|  | ATS, Automatic; Generators | 4 | 3 |  | 0
|  | ATS, Manual; Generators | 1 | 0 |  | 0
|  | TRANSFER SWITCH TOTAL |  |  | 0 | 0
70 | SMP Testing
|  | SPM Testing | 6 | 0 |  | 0
|  | SPM TESTING TOTAL |  |  | 0 | 0
80 | Switch Test
|  | Load Break | 10 | 14 |  | 0
|  | SWITCH TEST TOTAL |  |  | 0 | 0
90 | Infrared (IR) Testing (Per Day) Lump Sum
|  | Infrared Testing (Per Day) Lump Sum | 1 | 1 |  | 0
|  | IR TESTING TOTAL |  |  | 0 | 0
100 | NGR (Neurtral Ground Resistor)
|  | NGR (Neurtral Ground Resistor) | 3 | 2 |  | 0
|  | NGR TESTING TOTAL |  |  | 0 | 0
110 | TAN DELTA Cable Testing
|  | Tan Delta Cable Testing (Set of 3) | 0 | 11 |  | 0
|  | TAN DELTA TESTING TOTAL |  |  | 0 | 0
120 | Potential Transformer (PT/CT)
|  | Potential Transformer (PT) | 4 | 7 |  | 0
|  | Control Power (CT) | 0 | 7 |  | 0
|  | PT & CT TESTING TOTAL |  |  | 0 | 0
130 | Motor P&I Testing
| *Unit Manufacturer & Model # Listed on Separate Sheet | Motor P&I Testing | 29 | 12 |  | 0
|  | MOTOR P&I TESTING TOTAL |  |  | 0 | 0
|  | PART A TOTAL |  |  | 0 | 0

## P&I Unit-ManMod
* Motor P&I Testing - Manufacturer & Model #s
| Location | Description | Manufacturer | Model | Serial Number | Motor Type | Style
1 | Corbalis Treatment Plant | Raw Water Motor 1 | HYUNDAI IDEAL |  | 1010037-01 | Synchronous | Vertical
2 | Corbalis Treatment Plant | Raw Water Motor 2 | EM |  | 179275717 | Synchronous | Vertical
3 | Corbalis Treatment Plant | Raw Water Motor 3 | EM |  | 179275718 | Synchronous | Vertical
4 | Corbalis Treatment Plant | Raw Water Motor 5 | EM |  | 287375211 | Synchronous | Vertical
5 | Corbalis Treatment Plant | Raw Water Motor 6 | EM |  | 187375211 | Synchronous | Vertical
6 | Corbalis Treatment Plant | Raw Water Motor 4 | HYUNDAI IDEAL |  | 1010037-02 | Synchronous | Vertical
7 | Corbalis Treatment Plant | Finished Water Motor 1 | IDEAL ELECTRIC |  | 981097-01 | Synchronous | Horizontal
8 | Corbalis Treatment Plant | Finished Water Motor 2 | IDEAL ELECTRIC |  | 345783 | Synchronous | Horizontal
9 | Corbalis Treatment Plant | Finished Water Motor 3 | IDEAL ELECTRIC |  | 310412 | Synchronous | Horizontal
10 | Corbalis Treatment Plant | Finished Water Motor 4 | IDEAL ELECTRIC |  | 310414 | Synchronous | Horizontal
11 | Corbalis Treatment Plant | Finished Water Motor 5 | IDEAL ELECTRIC |  | 310413 | Synchronous | Horizontal
12 | Corbalis Treatment Plant | Finished Water Motor 6 | IDEAL ELECTRIC |  | 971070-01 | Synchronous | Horizontal
13 | Corbalis Treatment Plant | Finished Water Motor 7 | NATIONAL OIL WELL | SM1055PNT-629 | NC-60PNT071-1 | Synchronous | Horizontal
14 | Corbalis Treatment Plant | Finished Water Motor 8 | NATIONAL OIL WELL | SM1055PNT-629 | PC-60PNT072-1 | Synchronous | Horizontal
15 | Corbalis Treatment Plant | Finished Water Motor 9 | GENERAL ELECTRIC | 271R299-61 | NOSN | Synchronous | Horizontal
16 | Fomxill | Foxmill Motor 1 | IDEAL ELECTRIC |  | 350957 | Induction | Vertical
17 | Fomxill | Foxmill Motor 2 | IDEAL ELECTRIC |  | 350956 | Induction | Vertical
18 | Fomxill | Foxmill Motor 3 | IDEAL ELECTRIC |  | 350955 | Induction | Vertical
19 | Fomxill | Foxmill Motor 4 | GENERAL ELECTRIC | 5K83396448501 | WWH283004190 | Induction | Vertical
20 | Fomxill | Foxmill Motor 5 | GENERAL ELECTRIC | 5KB3396448501 | WWH-283004189 | Induction | Vertical
21 | Reston | Reston Motor 1 | IDEAL ELECTRIC |  | 296977 | Induction | Horizontal
22 | Reston | Reston Motor 2 | IDEAL ELECTRIC |  | 296978 | Induction | Horizontal
23 | Reston | Reston Motor 3 | IDEAL ELECTRIC |  | 296976 | Induction | Horizontal
24 | Tysons | Tyson's II - Motor P1-1 | IDEAL ELECTRIC |  | 347182 | Induction | Horizontal
25 | Tysons | Tyson's II Motor P1-2 | IDEAL ELECTRIC |  | 347181 | Induction | Horizontal
26 | Tysons | Tyson's II Motor P1-3 | IDEAL ELECTRIC |  | 347180 | Induction | Horizontal
27 | Tysons | Tyson's II Motor P2-1 | US MOTORS |  | 614042-T03S1460299R1 | Induction | Horizontal
28 | Tysons | Tyson's II Motor P2-2 | US MOTORS |  | 614042-T03S1460299R3 | Induction | Horizontal
29 | Tysons | Tyson's II Motor P3-3 | US MOTORS |  | 614042-T03S1460299R2 | Induction | Horizontal
* Motor P&I Testing - Manufacturer & Model #s
| Location | Description | Manufacturer | Model | Serial Number | Motor Type | Style
30 | Griffith Treathment Plant | FWP #2 Motor (4160V 1800HP) | IDEAL ELECTRIC | IMV | 001077-01 | Induction | Vertical
31 | Griffith Treathment Plant | FWP #3 Motor (4160V 1800HP) | IDEAL ELECTRIC | IMV | 001077-02 | Induction | Vertical
32 | Griffith Treathment Plant | FWP #4 Motor (4160V 1800HP) | IDEAL ELECTRIC | IMV | 001077-03 | Induction | Vertical
33 | Griffith Treathment Plant | FWP #6 Motor (4160V 500HP) | IDEAL ELECTRIC |  | 001076-01 | Induction | Vertical
34 | Griffith Treathment Plant | FWP #7 Motor (4160V 500HP) | IDEAL ELECTRIC |  | 001076-02 | Induction | Vertical
35 | Griffith Treathment Plant | FWP #8 Motor (4160V 500HP) | IDEAL ELECTRIC |  | 001076-03 | Induction | Vertical
36 | Griffith Treathment Plant | RW Pump #1 (1750 HP) | IDEAL ELECTRIC | 25782 | 001067-01 | Induction | Horizontal
37 | Griffith Treathment Plant | RW Pump #2 (1750 HP) | IDEAL ELECTRIC | 25782 | 001067-02 | Induction | Horizontal
38 | Griffith Treathment Plant | RW Pump #3 (1250 HP) | IDEAL ELECTRIC | 25783 | 001068-01 | Induction | Horizontal
39 | Griffith Treathment Plant | RW Pump #4 (1750 HP) | IDEAL ELECTRIC | 25782 | 001067-03 | Induction | Horizontal
40 | Griffith Treathment Plant | RW Pump #5 (1250 HP) | IDEAL ELECTRIC | 25783 | 001068-02 | Induction | Horizontal
41 | Griffith Treathment Plant | RW Pump #7 (1250 HP) | IDEAL ELECTRIC | 25784 | 001069-01 | Induction | Horizontal

## ATT 1 B
No | Description |  | Equipment (Quantities Estimated) | CTP Count | GTP Count | Unit Price | Extended Price
10 | Relay Testing
|  | 20 | Relay; Mechanical | 8 | 4 |  | 0
|  | 30 | Relay;Interface | 0 | 4 |  | 0
|  | 40 | Relay;Microprocessor | 0 | 4 |  | 0
|  | 50 | Relay;Panel,Clean/Tighten | 0 | 4 |  | 0
|  |  | RELAY TOTAL |  |  | 0 | 0
20 | Transformer Testing
|  | 10 | Transformer, Substation | 2 | 2 |  | 0
|  | 20 | Transformer, Substation: Oil | 2 | 2 |  | 0
|  | 30 | Transformer,Substation:Tap Changers | 0 | 2 |  | 0
|  | 40 | Transformer;CPT | 0 | 4 |  | 0
|  | 50 | Transformer;Substation;Tap Changers:Oil | 0 | 2 |  | 0
|  | 60 | Transformer;Cable Fault | 0 | 2 |  | 0
|  |  | TRANSFORMER TOTAL |  |  | 0 | 0
30 | Surge Arrestor
|  | 10 | Surge Arrestor | 0 | 12 |  | 0
|  |  | SURGE ARRESTOR TOTAL |  |  | 0 | 0
40 | Switches
|  | 30 | Switches; Vacuum | 2 | 2 |  | 0
|  | 40 | Manual disconnect | 9 | 0 |  | 0
|  | 50 | Switches; Load Break | 2 | 2 |  | 0
|  | 60 | Switches;Cicuit | 0 | 2 |  | 0
|  |  | SWITCH TOTAL |  |  | 0 | 0
No | Description |  | Equipment (Quantities Estimated) | CTP Count | GTP Count | Unit Price | Extended Price
50 | Manhole Inspection (Per Each)
|  | 10 | Manholes (Per Each) | 58 | 0 |  | 0
|  |  | MANHOLE INSPECTION TOTAL |  |  | 0 | 0
|  |  | PART B TOTAL |  |  | 0 | 0

## ATT 1 C
No | Description | Equipment (Quantities Estimated) | GTP Only | Unit Price | Extended Price
10 | Wooden Power Pole Inspection w/Treatment (Per Each Pole) 44
|  | In Concrete | 1 |  | 0
|  | In Rock | 1 |  | 0
|  | In Earth Diggable | 1 |  | 0
|  | Wooden Pole Replacement (per each) | 1 |  | 0
|  | WOODEN POLE TOTAL |  | 0 | 0

## ATT 1 D
Description | New Equipment (Quantities Estimated) | CTP Count | Unit Price | Extended Price
Breaker Testing
| Breaker, Low Voltage;Primary | 14 |  | 0
| Breaker, Low Voltage;Seconary | 14 |  | 0
| Breaker, Medium Voltage;Primary | 32 |  | 0
| Breaker, Medium Voltage;Seconary | 32 |  | 0
| BREAKER TOTAL |  | 0 | 0
Multilin Testing
| Multilin; 869 | 9 |  | 0
| Multilin; 750 | 2 |  | 0
| Multilin; 850 | 15 |  | 0
| Multilin; 845 | 2 |  | 0
| MULTILIN TOTAL |  | 0 | 0
Relay Testing
| Relay Solid State; MFPR | 9 |  | 0
| RELAY TOTAL |  | 0 | 0
Transformer Testing
| Transformer Breaker/Low Volt/Primary | 6 |  | 0
| Transformer Breaker/Low Volt/Secondary | 6 |  | 0
| Transformer Testing;Pad | 6 |  | 0
| Transformer Testing;Pad/Oil | 6 |  | 0
| TRANSFORMER TOTAL |  | 0 | 0
Controller Testing
| Controller; Motor Controller | 9 |  | 0
| CONTROLLER TOTAL |  | 0 | 0
Transfer Switch Testing
| ATS, Automatic | 11 |  | 0
| TRANSFER SWITCH TOTAL |  | 0 | 0
SMP Testing
| SPM Testing | 9 |  | 0
| SPM TESTING TOTAL |  | 0 | 0
NGR (Neurtral Ground Resistor)
| NGR (Neurtral Ground Resistor) | 2 |  | 0
| NGR TESTING TOTAL |  | 0 | 0
Potential Transformer (PT)
| Potential Transformer (PT) | 4 |  | 0
| PT & CT TESTING TOTAL |  | 0 | 0
Transformer Testing (Substations)
| Transformer, Substation | 2 |  | 0
| Transformer, Substation: Oil | 2 |  | 0
| TRANSFORMER TOTAL |  | 0 | 0
Switches
| Switches; Vacuum-Pad Mount | 2 |  | 0
| SWITCH TOTAL |  | 0 | 0
| PART D TOTAL |  | 0 | 0