## ATT 1 A
IFB 24-021 Excel Pricing Schedule
ATTACHMENT 1 PART A -- Low - Medium Voltage
No | Service # | Description |  | Equipment (Quantities Estimated) | CTP Count | GTP Count | Unit Price / Each | Extended Price
10 |  | * Breaker Testing
|  |  | 10 | Breaker, Low Voltage;Primary | 224 | 53 |  | 0
|  |  | 20 | Breaker, Low Voltage;Secondary | 221 | 53 |  | 0
|  |  | 30 | Breaker, Medium Voltage;Primary | 71 | 28 |  | 0
|  |  | 40 | Breaker, Medium Voltage;Secondary | 71 | 28 |  | 0
|  |  |  | BREAKER TOTAL |  |  |  | 0
*TRIP UNITS FOR BREAKER TESTING (For Reference)
Manufacturer |  |  |  | Trip Units
GE |  |  |  | Versa Trip/RMS-9
Cutler Hammer |  |  |  | Digitrip 510
Cutler Hammer |  |  |  | Digitrip 520
Cutler Hammer |  |  |  | Digitrip 520M
Cutler Hammer |  |  |  | Digitrip RMS 320
Square D |  |  |  | Micro Logic/Series B
Square D |  |  |  | Micro Logic
20 |  | Multilin Testing
|  |  | 10 | Multilin;369 | 5 | 0 |  | 0
|  |  | 20 | Multilin;469 | 18 | 6 |  | 0
|  |  | 30 | Multilin;869 | 9 | 7 |  | 0
|  |  | 40 | Multilin;350 | 12 | 0 |  | 0
|  |  | 50 | Multilin;750 | 7 | 4 |  | 0
|  |  | 60 | Multilin;850 | 24 | 0 |  | 0
|  |  | 70 | Multilin;735/737 | 0 | 2 |  | 0
|  |  | 80 | Multilin;B30 | 3 | 0 |  | 0
|  |  | 90 | Multilin;B90 | 6 | 0 |  | 0
|  |  | 100 | Multilin;MIF II | 2 | 0 |  | 0
|  |  |  | MULTILIN TOTAL |  |  |  | 0
30 |  | Relay Testing
|  |  | 10 | Relay Solid State;BE1-67 | 6 | 0 |  | 0
|  |  | 20 | Relay Solid State;BE1-87 | 2 | 0 |  | 0
|  |  | 30 | Relay Solid State;BE1-50/51 | 55 | 48 |  | 0
|  |  | 40 | Relay Electromagnetic | 2 | 10 |  | 0
|  |  | 50 | Relay Solid State;32R | 0 | 2 |  | 0
|  |  | 60 | Relay Solid State;BE1-46N | 0 | 2 |  | 0
|  |  | 70 | Relay Solid State;BE1-47N | 0 | 2 |  | 0
|  |  |  | RELAY TOTAL |  |  |  | 0
40 |  | Transformer Testing
|  |  | 10 | Transformer Breaker/Low Volt/Primary | 2 | 0 |  | 0
|  |  | 20 | Transformer Breaker/Low Volt/Secondary | 26 | 12 |  | 0
|  |  | 30 | Transformer Testing; Pad/Oil | 27 | 12 |  | 0
|  |  | 40 | Transformer Testing; Pad/Dry | 8 | 9 |  | 0
|  |  | 50 | Transformer Testing; Variac | 2 | 0 |  | 0
|  |  |  | TRANSFORMER TOTAL |  |  |  | 0
50 |  | Motor Controller Testing
|  |  | 10 | MV Contactors (Start, Run, Main) | 31 | 17 |  | 0
|  |  | 20 | Controller; MV RVAT | 7 | 0 |  | 0
|  |  | 30 | Controller; Medium voltage | 24 | 8 |  | 0
|  |  | 40 | Controller; Low Voltage | 9 | 7 |  | 0
|  |  |  | CONTROLLER TOTAL |  |  |  | 0
60 |  | Transfer Switch Testing
|  |  | 10 | TS, Automatic; Generators | 23 | 11 |  | 0
|  |  | 20 | TS, Manual; Generators | 5 | 1 |  | 0
|  |  |  | TRANSFER SWITCH TOTAL |  |  |  | 0
70 |  | Switch Testing
|  |  | 10 | Load Break Switch | 7 | 23 |  | 0
|  |  |  | SWITCH TEST TOTAL |  |  |  | 0
80 |  | Infrared (IR) Testing (Per Day) Lump Sum
|  |  | 10 | Infrared Testing (Per Day) Lump Sum | 5 | 2 |  | 0
|  |  |  | IR TESTING TOTAL |  |  |  | 0
90 |  | NGR (Neutral Ground Resistor)
|  |  | 10 | NGR (Neutral Ground Resistor) | 4 | 2 |  | 0
|  |  |  | NGR TESTING TOTAL |  |  |  | 0
100 |  | TAN DELTA Cable Testing
|  |  | 10 | Tan Delta Cable Testing (Set of 3) | 1 | 1 |  | 0
|  |  |  | TAN DELTA TESTING TOTAL |  |  |  | 0
110 |  | Instrument Transformer (PT/CPT/CT/)
|  |  | 10 | Drawout Potential and Control Power Transformers (PT, CPT) | 31 | 20 |  | 0
|  |  | 20 | Current Power (CT) - Set of three | 81 | 29 |  | 0
|  |  |  | PT & CT TESTING TOTAL |  |  |  | 0
120 |  | Motor PI and RIC Testing
|  | *Unit Manufacturer & Model # Listed on "PI Unit" Sheet | 10 | Motor PI Testing | 29 | 18 |  | 0
|  |  |  | MOTOR P&I TESTING TOTAL |  |  |  | 0
|  |  |  | PART A TOTAL |  |  |  | 0
A unit price must be entered for line item to be considered for award. Bidders who do not provide all requested information will be deemed as non-responsive.

## ATT 1 B
ATTACHMENT 1 PART B -- Substations, Medium - High voltage
No | Service # | Description |  | Equipment (Quantities Estimated) | CTP Count | GTP Count | Unit Price | Extended Price
10 |  | Relay Testing
|  |  | 10 | Relay; Multilin 845 | 2 | 0 |  | 0
|  |  | 20 | Relay; Mechanical | 8 | 0 |  | 0
|  |  | 30 | Relay; Interface | 0 | 4 |  | 0
|  |  | 40 | Relay; SEL 351A | 0 | 2 |  | 0
|  |  | 50 | Relay; TPU 2000R | 0 | 2 |  | 0
|  |  | 60 | Relay; Panel, Clean/Tighten | 6 | 4 |  | 0
|  |  |  | RELAY TOTAL |  |  |  | 0
20 |  | Transformer Testing
|  |  | 10 | Transformer, Substation | 6 | 6 |  | 0
|  |  | 20 | Transformer, Substation: Tap Changers | 0 | 2 |  | 0
|  |  | 30 | Transformer; CT (sets of three) | 6 | 8 |  | 0
|  |  | 40 | Transformer; Substation; Panel, Clean/Tighten | 6 | 4 |  | 0
|  |  | 50 | Transformer; Cable Fault | 6 | 6 |  | 0
|  |  |  | TRANSFORMER TOTAL |  |  |  | 0
30 |  | NGR (Neutral Ground Resistor)
|  |  | 10 | NGR (Neutral Ground Resistor) | 2 | 2 |  | 0
|  |  |  | NGR TESTING TOTAL |  |  |  | 0
40 |  | Surge Arrestor
|  |  | 10 | Surge Arrestor (set of three) | 6 | 6 |  | 0
|  |  |  | SURGE ARRESTOR TOTAL |  |  |  | 0
50 |  | Switches
|  |  | 10 | Switches; Pad, Oil | 1 | 0 |  | 0
|  |  | 20 | Switches; Pad,SFG Gas | 2 | 0 |  | 0
|  |  | 30 | Switches; Circuit | 2 | 2 |  | 0
|  |  | 40 | Switches; Manual | 0 | 2 |  | 0
|  |  | 50 | Switches; Load Break | 0 | 2 |  | 0
|  |  |  | SWITCH TOTAL |  |  |  | 0
No |  | Description |  | Equipment (Quantities Estimated) | CTP Count | GTP Count | Unit Price | Extended Price
60 |  | Manhole Inspection (Per Each)
|  |  | 10 | Manholes (Per Each) | 58 | 6 |  | 0
|  |  |  | MANHOLE INSPECTION TOTAL |  |  |  | 0
|  |  |  | PART B TOTAL |  |  |  | 0
A unit price must be entered for line item to be considered for award. Bidders who do not provide all requested information will be deemed as non-responsive.

## ATT 1 C
ATTACHMENT 1 PART C -- Power Poles & Aerial 4160V Circuit
No | Service # | Description | Equipment (Quantities Estimated) | GTP Only | Unit Price | Extended Price
10 | xxxxxxxx | Wooden Power Pole Inspection w/Treatment (Per Each Pole) 44
|  |  | In Concrete | 5 |  | 0
|  |  | In Rock | 5 |  | 0
|  |  | In Earth Diggable | 34 |  | 0
|  |  | Wooden Pole Replacement (per each) | 3 |  | 0
|  |  | WOODEN POLE TOTAL |  |  | 0
|  |  | GRAND TOTAL OF PARTS A - C |  |  | 0
A unit price must be entered for line item to be considered for award. Bidders who do not provide all requested information will be deemed as non-responsive.

## Labor Rates & Materials
Labor Rates and Materials for Emergency Repair Special Maintenance and Repairs (Part A)
Item No. | Labor Rates - Regular and Overtime | Quantity | Unit of Measure | Unit Price | Extended Price
1.a | Technician - Regular | 1 | Hour |  | 0
1.b | Technician - Overtime | 1 | Hour |  | 0
1.c | Supervisor - Regular | 1 | Hour |  | 0
1.d | Supervisor - Overtime | 1 | Hour |  | 0
| Total Labor Hours |  |  |  | 0
Discount off Parts, Materials,
2.a | Indicate Percent Discount off Manufacturer's Price List
%
2.b. | Equipment Rental and Subcontracting Shall be at Contractor's Cost With no Markup
Per Section 4.11 G; Bidder shall provide hourly labor and material rates for providing services not specifically covered under the Annual Maintenance Service. Labor rates shall include all direct and indirect costs such as transportation, general and administrative costs, and profit etc. Labor rates shall not be billed in addition to unit pricing for services listed in Tabs A, B, and C.
A unit price must be entered for line item to be considered for award. Bidders who do not provide all requested information will be deemed as non-responsive.

## PI Unit-ManMod
* CTP -- Motor PI and RIC Testing - Manufacturer & Model #s
| Location | Description | Manufacturer | Model | Serial Number | Motor Type | Style
1 | Corbalis Treatment Plant | Raw Water Motor 1 | HYUNDAI IDEAL |  | 1010037-01 | Synchronous | Vertical
2 | Corbalis Treatment Plant | Raw Water Motor 2 | EM |  | 179275717 | Synchronous | Vertical
3 | Corbalis Treatment Plant | Raw Water Motor 3 | EM |  | 179275718 | Synchronous | Vertical
4 | Corbalis Treatment Plant | Raw Water Motor 5 | EM |  | 287375211 | Synchronous | Vertical
5 | Corbalis Treatment Plant | Raw Water Motor 6 | EM |  | 187375211 | Synchronous | Vertical
6 | Corbalis Treatment Plant | Raw Water Motor 4 | HYUNDAI IDEAL |  | 1010037-02 | Synchronous | Vertical
7 | Corbalis Treatment Plant | Finished Water Motor 1 | IDEAL ELECTRIC |  | 981097-01 | Synchronous | Horizontal
8 | Corbalis Treatment Plant | Finished Water Motor 2 | IDEAL ELECTRIC |  | 345783 | Synchronous | Horizontal
9 | Corbalis Treatment Plant | Finished Water Motor 3 | IDEAL ELECTRIC |  | 310412 | Synchronous | Horizontal
10 | Corbalis Treatment Plant | Finished Water Motor 4 | IDEAL ELECTRIC |  | 310414 | Synchronous | Horizontal
11 | Corbalis Treatment Plant | Finished Water Motor 5 | IDEAL ELECTRIC |  | 310413 | Synchronous | Horizontal
12 | Corbalis Treatment Plant | Finished Water Motor 6 | IDEAL ELECTRIC |  | 971070-01 | Synchronous | Horizontal
13 | Corbalis Treatment Plant | Finished Water Motor 7 | NATIONAL OIL WELL | SM1055PNT-629 | NC-60PNT071-1 | Synchronous | Horizontal
14 | Corbalis Treatment Plant | Finished Water Motor 8 | NATIONAL OIL WELL | SM1055PNT-629 | PC-60PNT072-1 | Synchronous | Horizontal
15 | Corbalis Treatment Plant | Finished Water Motor 9 | GENERAL ELECTRIC | 271R299-61 | NOSN | Synchronous | Horizontal
16 | Fomxill | Foxmill Motor 1 | IDEAL ELECTRIC |  | 350957 | Induction | Vertical
17 | Fomxill | Foxmill Motor 2 | IDEAL ELECTRIC |  | 350956 | Induction | Vertical
18 | Fomxill | Foxmill Motor 3 | IDEAL ELECTRIC |  | 350955 | Induction | Vertical
19 | Fomxill | Foxmill Motor 4 | GENERAL ELECTRIC | 5K83396448501 | WWH283004190 | Induction | Vertical
20 | Fomxill | Foxmill Motor 5 | GENERAL ELECTRIC | 5KB3396448501 | WWH-283004189 | Induction | Vertical
21 | Reston | Reston Motor 1 | IDEAL ELECTRIC |  | 296977 | Induction | Horizontal
22 | Reston | Reston Motor 2 | IDEAL ELECTRIC |  | 296978 | Induction | Horizontal
23 | Reston | Reston Motor 3 | IDEAL ELECTRIC |  | 296976 | Induction | Horizontal
24 | Tysons | Tyson's II - Motor P1-1 | IDEAL ELECTRIC |  | 347182 | Induction | Horizontal
25 | Tysons | Tyson's II Motor P1-2 | IDEAL ELECTRIC |  | 347181 | Induction | Horizontal
26 | Tysons | Tyson's II Motor P1-3 | IDEAL ELECTRIC |  | 347180 | Induction | Horizontal
27 | Tysons | Tyson's II Motor P2-1 | US MOTORS |  | 614042-T03S1460299R1 | Induction | Horizontal
28 | Tysons | Tyson's II Motor P2-2 | US MOTORS |  | 614042-T03S1460299R3 | Induction | Horizontal
29 | Tysons | Tyson's II Motor P3-3 | US MOTORS |  | 614042-T03S1460299R2 | Induction | Horizontal
* GTP -- Motor PI and RIC Testing - Manufacturer & Model #s
| Location | Description | Manufacturer | Model | Serial Number | Motor Type | Style
30 | Griffith Treathment Plant | FWP #2 Motor (4160V 1800HP) | IDEAL ELECTRIC | IMV | 001077-01 | Induction | Vertical
31 | Griffith Treathment Plant | FWP #3 Motor (4160V 1800HP) | IDEAL ELECTRIC | IMV | 001077-02 | Induction | Vertical
32 | Griffith Treathment Plant | FWP #4 Motor (4160V 1800HP) | IDEAL ELECTRIC | IMV | 001077-03 | Induction | Vertical
33 | Griffith Treathment Plant | FWP #6 Motor (4160V 1800HP) |  |  |  | Induction | Vertical
34 | Griffith Treathment Plant | FWP #7 Motor (4160V 500HP) | IDEAL ELECTRIC |  | 001076-02 | Induction | Vertical
35 | Griffith Treathment Plant | FWP #8 Motor (4160V 500HP) | IDEAL ELECTRIC |  | 001076-03 | Induction | Vertical
36 | Griffith Treathment Plant | FWP #9 Motor (4160V 500HP) | IDEAL ELECTRIC |  | 001076-01 | Induction | Vertical
37 | Griffith Treathment Plant | RW Pump #1 (1750 HP) | IDEAL ELECTRIC | 25782 | 001067-01 | Induction | Horizontal
38 | Griffith Treathment Plant | RW Pump #2 (1750 HP) | IDEAL ELECTRIC | 25782 | 001067-02 | Induction | Horizontal
39 | Griffith Treathment Plant | RW Pump #3 (1250 HP) | IDEAL ELECTRIC | 25783 | 001068-01 | Induction | Horizontal
40 | Griffith Treathment Plant | RW Pump #4 (1750 HP) | IDEAL ELECTRIC | 25782 | 001067-03 | Induction | Horizontal
41 | Griffith Treathment Plant | RW Pump #5 (1250 HP) | IDEAL ELECTRIC | 25783 | 001068-02 | Induction | Horizontal
42 | Griffith Treathment Plant | RW Pump #7 (1250 HP) | IDEAL ELECTRIC | 25784 | 001069-01 | Induction | Horizontal
43 | Popes Head PS | PHP Motor 1 | GENERAL ELECTRIC |  | JL-8404224 | Induction | Horizontal
44 | Popes Head PS | PHP Motor 2 | GENERAL ELECTRIC |  | JL-8404223 | Induction | Horizontal
45 | Popes Head PS | PHP Motor 3 | GENERAL ELECTRIC |  | GU-8426277 | Induction | Horizontal
46 | Pohick Road PS | Pohick Motor 1 | IDEAL ELECTRIC |  | 272783 | Induction | Horizontal
47 | Pohick Road PS | Pohick Motor 2 | IDEAL ELECTRIC |  | 272784 | Induction | Horizontal